CORRinSITE Model 7800

- 2.1	SPRINKLER SPECIALTY PIPE FITTINGS

In-Line Corrosion Monitor for Wet and Dry Pipe Fire Sprinkler Systems:

Manufacturers:  Subject to compliance with requirements, available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

AGF Manufacturing Inc.; CORRinSITE™ Model 7800.

<Insert manufacturer's name>.

Standards:

NFPA 13 and NFPA 25.

Specifications:

Service Pressure:  300 PSI.

Operating Temp.:  -40° to 200° F.

Material:  Mild Carbon Steel.

Wear Dimension:  0.040 inch.

Sizes:  [2] [2-1/2] [3] [4] [6] [8] inches.

Schedule [10] [40].

For Black and Galvanized Pipe.

Model 7800 is offered in a Mechanical Tee versions

Finishes:

Powder-coat.

Color: Red.

Hot-dip galvanized.